Murray State University

Hot Work Permit

Before initiating hot work, can this job be avoided?  Is there a safer way?

This Hot Work Permit is required for any temporary operation involving open flames or producing heat and/or sparks.  This includes, but is not limited to brazing, grinding, soldering, thawing pipe, torch applied roofing and welding.

Hot Work Permits may not be authorized for more than one shift!

Instructions:

1.  Verify precautions listed below or do not proceed with work.

2.  Complete this permit and issue to person(s) performing the work.

3.  Retain the completed permit in the project file.

| Permit #: | Date: | Shift: | Work Order #: |
| --- | --- | --- | --- |

Location of Work:

Equipment Number:

Purpose of work:

Name of company & person(s) performing the work:

Name of fire watch person:

Fire Watch Start Time:				Fire Watch Stop Time:

I verify the above location has been examined and the precautions checked below to minimize the chance of fire have been implemented.

Supervisor’s Name:   							Signature:

Hot Work					Hot Work

Duration (Hours):		Start Time:				Stop Time:

Required Precautions

| Yes | No | N/A | Item |
| --- | --- | --- | --- |
|  |  |  | The fire pump is in operation and switched to automatic. |
|  |  |  | Control valves to water supply for sprinkler system are open. |
|  |  |  | Extinguishers are in service/operable. |
|  |  |  | Hot work equipment is in good working condition. |

Requirements Within 35 Feet of Hot Work

| Yes | No | N/A | Item |
| --- | --- | --- | --- |
|  |  |  | Shield combustible construction using welding pads, blankets, and curtains. |
|  |  |  | Remove combustibles or shield nonremovable combustibles using welding pads, blankets, and curtains. |
|  |  |  | Isolate potential sources of flammable gas, ignitable liquid or combustible dust/lint (e.g., shut down equipment). |
|  |  |  | Remove ignitable liquid, combustible dust/lint and residues. |
|  |  |  | Shut down ventilation and conveying systems. |
|  |  |  | Remove combustibles and consider a second fire watch on opposite side of floor, wall, ceiling or roof when openings exist or thermally conductive materials pass through. |
|  |  |  | Is work on a combustible roof? If yes, treat as a High-Risk Area and follow additional precautions below. |

Hot Work On/In Closed Equipment, Ductwork and Piping

| Yes | No | N/A | Item |
| --- | --- | --- | --- |
|  |  |  | Isolate equipment from service. |
|  |  |  | Remove ignitable liquid and purge flammable gas/vapor. |
|  |  |  | Prior to work, and/or during work, monitor for flammable gas/vapor. LEL Reading(s): _____________________________________________________ |
|  |  |  | Remove combustible dust/lint or other combustible material. |
|  |  |  | Is work on/in equipment with nonremovable combustible linings or parts? If yes, treat as a High-Risk Area and follow additional precautions below. |

Fire Watch/Fire Monitoring the Hot Work Area

| Yes | No | N/A | Item |
| --- | --- | --- | --- |
|  |  |  | Perform a continuous fire watch during hot work. |
|  |  |  | Perform a continuous fire watch after hot work completion depending on occupancy and construction. See page 4 of Hot Work Program for fire watch times. |